METHOD SPECIFICATION

Faculty of Biosciences, NMBU

___________________________________________________________________________

Method name: Total phosphorus

BIOVIT-no.: Msp1168

__________________________________________________________________

- Method of analysis / Principle / Main instrument

The sample is first decomposed by combustion before the ash is dissolved in acid. Ammonium molybdate is added so that phosphate ions in acidic solution form a phosphomolybdate complex that can be measured spectrophotometrically at 340nm.

The method is based on an endpoint reaction and is suitable for samples with <5% phosphorus.

Main instrument: RX Daytona+ (Randox Laboratories Ltd, United Kingdom)

2. Reference and any modifications

FAO. 2011. Quality assurance for animal feed analysis laboratories. FAO Animal Production and Health Manual No. 14. Rome. http://www.fao.org/3/i2441e/i2441e00.pdf

3. Requirements for grinding and storage

Samples must be grinded to 0.5 mm and stored in a dry place.

4. Contact persons

Lab manager: Hanne Kolsrud Hustoft

Responsible for analysis: Milena Bjelanovic og Elin Follaug Johnsen

5. Additional literature

- ISO 6491. 1998. Animal feeding stuffs – Determination of phosphorus content – Spectrometric method. Geneva, Switzerland.

- Commission Regulation (EC) No 152/2009. 27 Jan 2009. Laying down the methods of sampling and analysis for the official control of feed. Annex III, P, Official Journal of the European Union L54/1 from 26/02/2009.